## ReadMe
Ammonium and Nitrate concentrations were determined using previously described 96-well plate assays with soil extracts from unfumigated .5M K2SO4 extracts;absorption values were read on a Synergy HTX plate reader (BioTek, Winooski, Vermont, USA)(ammonium - Sinsabaugh et al., 2000; nitrate - Patton & Kryskalla, 2011)
Sample | Sample - Plant_Number linked to metadata; STD# = standard curve reagent at ppm nitrate or ammonium; C# = control sample of just K2SO4; Empty - no sample; 'MMPRNT' - samples from another project, disregard this.
Well | Well in the 96well plate
610nm | 610 nm absorbance for ammonium assay that should be converted to ppm NH4
540nm | 540 nm absorbance for nitrate assay that should be converted to ppm NO3
700nm | 700 nm absorbance for nitrate assay that should be converted to ppm NO3
DilutionFactor | dilution factor of sample, 1 = no dilution of K2SO4 extracts for
Plate | Plate # (there were 2 plates used for all samples for either assay; standard curves and controls should be unique to each plate)

## MERDS_FP_Ammonium
Sample | Well | 610nm | DilutionFactor | Plate
STD0 | A1 | 0.057 | 1 | 1
STD0.1 | B1 | 0.064 | 1 | 1
STD0.2 | C1 | 0.07 | 1 | 1
STD0.5 | D1 | 0.098 | 1 | 1
STD1 | E1 | 0.131 | 1 | 1
STD2 *bad data | F1 | 0.036 | 1 | 1
CHK1 | G1 | 0.134 | 1 | 1
Empty | H1 | 0.042 | 1 | 1
STD0 | A2 | 0.056 | 1 | 1
STD0.1 | B2 | 0.065 | 1 | 1
STD0.2 | C2 | 0.072 | 1 | 1
STD0.5 | D2 | 0.096 | 1 | 1
STD1 | E2 | 0.127 | 1 | 1
STD2 | F2 | 0.201 | 1 | 1
CHK1 | G2 | 0.128 | 1 | 1
Empty | H2 | 0.05 | 1 | 1
STD0 | A3 | 0.056 | 1 | 1
STD0.1 | B3 | 0.064 | 1 | 1
STD0.2 | C3 | 0.07 | 1 | 1
STD0.5 | D3 | 0.096 | 1 | 1
STD1 | E3 | 0.133 | 1 | 1
STD2 | F3 | 0.206 | 1 | 1
CHK1 | G3 | 0.136 | 1 | 1
Empty | H3 | 0.05 | 1 | 1
1 | A4 | 0.057 | 1 | 1
4 | B4 | 0.056 | 1 | 1
7 | C4 | 0.058 | 1 | 1
10 | D4 | 0.058 | 1 | 1
16 | E4 | 0.058 | 1 | 1
19 | F4 | 0.07 | 1 | 1
22 | G4 | 0.061 | 1 | 1
25 | H4 | 0.06 | 1 | 1
1 | A5 | 0.059 | 1 | 1
4 | B5 | 0.057 | 1 | 1
7 | C5 | 0.057 | 1 | 1
10 | D5 | 0.058 | 1 | 1
16 | E5 | 0.057 | 1 | 1
19 | F5 | 0.066 | 1 | 1
22 | G5 | 0.061 | 1 | 1
25 | H5 | 0.059 | 1 | 1
1 | A6 | 0.06 | 1 | 1
4 | B6 | 0.065 | 1 | 1
7 | C6 | 0.057 | 1 | 1
10 | D6 | 0.058 | 1 | 1
16* bad data | E6 | 0.039 | 1 | 1
19* bad data | F6 | 0.036 | 1 | 1
22 | G6 | 0.064 | 1 | 1
25 | H6 | 0.059 | 1 | 1
28 | A7 | 0.06 | 1 | 1
31 | B7 | 0.058 | 1 | 1
34 | C7 | 0.058 | 1 | 1
40 | D7 | 0.054 | 1 | 1
43 | E7 | 0.058 | 1 | 1
49 | F7 | 0.071 | 1 | 1
52 | G7 | 0.077 | 1 | 1
55 | H7 | 0.076 | 1 | 1
28 | A8 | 0.06 | 1 | 1
31 | B8 | 0.059 | 1 | 1
34 | C8 | 0.056 | 1 | 1
40 | D8 | 0.054 | 1 | 1
43 | E8 | 0.059 | 1 | 1
49 | F8 | 0.092 | 1 | 1
52 | G8 | 0.071 | 1 | 1
55 | H8 | 0.075 | 1 | 1
28 | A9 | 0.06 | 1 | 1
31 | B9 | 0.06 | 1 | 1
34 | C9 | 0.055 | 1 | 1
40 | D9 | 0.054 | 1 | 1
43 | E9 | 0.06 | 1 | 1
49 | F9 | 0.098 | 1 | 1
52 | G9 | 0.07 | 1 | 1
55 | H9 | 0.076 | 1 | 1
58 | A10 | 0.085 | 1 | 1
61 | B10 | 0.056 | 1 | 1
64 | C10 | 0.051 | 1 | 1
67 | D10 | 0.055 | 1 | 1
70 | E10 | 0.057 | 1 | 1
73 | F10 | 0.057 | 1 | 1
76 | G10 | 0.061 | 1 | 1
C1 | H10 | 0.041 | 1 | 1
58 | A11 | 0.087 | 1 | 1
61 | B11 | 0.058 | 1 | 1
64 | C11 | 0.055 | 1 | 1
67 | D11 | 0.056 | 1 | 1
70 | E11 | 0.056 | 1 | 1
73 | F11 | 0.056 | 1 | 1
76 | G11 | 0.059 | 1 | 1
C1 | H11 | 0.049 | 1 | 1
58 | A12 | 0.086 | 1 | 1
61 | B12 | 0.058 | 1 | 1
64 | C12 | 0.053 | 1 | 1
67 | D12 | 0.055 | 1 | 1
70 | E12 | 0.057 | 1 | 1
73 | F12 | 0.057 | 1 | 1
76 | G12 | 0.062 | 1 | 1
C1 | H12 | 0.058 | 1 | 1
STD0 | A1 | 0.06 | 1 | 2
STD0.1 | B1 | 0.066 | 1 | 2
STD0.2*bad data | C1 | 0.037 | 1 | 2
STD0.5 | D1 | 0.1 | 1 | 2
STD1 | E1 | 0.13 | 1 | 2
STD2 | F1 | 0.206 | 1 | 2
CHK1 | G1 | 0.136 | 1 | 2
Empty | H1 | 0.048 | 1 | 2
STD0 | A2 | 0.057 | 1 | 2
STD0.1 | B2 | 0.065 | 1 | 2
STD0.2 | C2 | 0.075 | 1 | 2
STD0.5 | D2 | 0.1 | 1 | 2
STD1 | E2 | 0.133 | 1 | 2
STD2 | F2 | 0.209 | 1 | 2
CHK1 | G2 | 0.129 | 1 | 2
Empty | H2 | 0.049 | 1 | 2
STD0 | A3 | 0.053 | 1 | 2
STD0.1 | B3 | 0.064 | 1 | 2
STD0.2 | C3 | 0.073 | 1 | 2
STD0.5 | D3 | 0.097 | 1 | 2
STD1 | E3 | 0.132 | 1 | 2
STD2 | F3 | 0.208 | 1 | 2
CHK1 | G3 | 0.137 | 1 | 2
Empty | H3 | 0.049 | 1 | 2
79 | A4 | 0.063 | 1 | 2
82 | B4 | 0.059 | 1 | 2
85 | C4 | 0.059 | 1 | 2
88 | D4 | 0.074 | 1 | 2
91 | E4 | 0.061 | 1 | 2
94 | F4 | 0.061 | 1 | 2
97 | G4 | 0.055 | 1 | 2
103 | H4 | 0.056 | 1 | 2
79 | A5 | 0.062 | 1 | 2
82 | B5 | 0.059 | 1 | 2
85 | C5 | 0.057 | 1 | 2
88 | D5 | 0.061 | 1 | 2
91 | E5 | 0.063 | 1 | 2
94 | F5 | 0.048 | 1 | 2
97 | G5 | 0.058 | 1 | 2
103 | H5 | 0.056 | 1 | 2
79 | A6 | 0.066 | 1 | 2
82 | B6 | 0.06 | 1 | 2
85 | C6 | 0.059 | 1 | 2
88 | D6 | 0.063 | 1 | 2
91 | E6 | 0.065 | 1 | 2
94 | F6 | 0.056 | 1 | 2
97 | G6 | 0.064 | 1 | 2
103 | H6 | 0.056 | 1 | 2
106 | A7 | 0.094 | 1 | 2
109 | B7 | 0.116 | 1 | 2
112 | C7 | 0.077 | 1 | 2
115 | D7 | 0.069 | 1 | 2
118 | E7 | 0.057 | 1 | 2
121 | F7 | 0.055 | 1 | 2
127 | G7 | 0.056 | 1 | 2
C1 | H7 | 0.053 | 1 | 2
106 | A8 | 0.1 | 1 | 2
109 | B8 | 0.122 | 1 | 2
112 | C8 | 0.08 | 1 | 2
115 | D8 | 0.069 | 1 | 2
118 | E8 | 0.058 | 1 | 2
121 | F8 | 0.055 | 1 | 2
127 | G8 | 0.054 | 1 | 2
C1 | H8 | 0.052 | 1 | 2
106 | A9 | 0.103 | 1 | 2
109 | B9 | 0.117 | 1 | 2
112 | C9 | 0.079 | 1 | 2
115 | D9 | 0.067 | 1 | 2
118 | E9 | 0.058 | 1 | 2
121 | F9 | 0.056 | 1 | 2
127 | G9 | 0.055 | 1 | 2
C1 | H9 | 0.037 | 1 | 2
MMPRNT-1769*dilute | A10 | 0.257 | 1 | 2
MMRPNT-1359*dilute | B10 | 0.271 | 1 | 2
CNTRL-1345-1368 | C10 | 0.052 | 1 | 2
CNTRL-1753-1824 | D10 | 0.052 | 1 | 2
37 | E10 | 0.056 | 1 | 2
88 | F10 | 0.058 | 1 | 2
Empty | G10 | 0.05 | 1 | 2
Empty | H10 | 0.049 | 1 | 2
MMPRNT-1769*dilute | A11 | 0.26 | 1 | 2
MMRPNT-1359*dilute | B11 | 0.287 | 1 | 2
CNTRL-1345-1368 | C11 | 0.052 | 1 | 2
CNTRL-1753-1824 | D11 | 0.053 | 1 | 2
37 | E11 | 0.057 | 1 | 2
88 | F11 | 0.06 | 1 | 2
Empty | G11 | 0.05 | 1 | 2
Empty | H11 | 0.049 | 1 | 2
MMPRNT-1769*dilute | A12 | 0.242 | 1 | 2
MMRPNT-1359*dilute | B12 | 0.275 | 1 | 2
CNTRL-1345-1368 | C12 | 0.053 | 1 | 2
CNTRL-1753-1824 | D12 | 0.054 | 1 | 2
37 | E12 | 0.056 | 1 | 2
88 | F12 | 0.06 | 1 | 2
Empty | G12 | 0.051 | 1 | 2
Empty | H12 | 0.307 | 1 | 2

## MERDS_FP_Nitrate
Sample | Well | 540nm | 700nm | DilutionFactor | Plate
STD0 | A1 | 0.051 | 0.036 | 1 | 1
STD0.1 | B1 | 0.061 | 0.036 | 1 | 1
STD0.2 | C1 | 0.066 | 0.036 | 1 | 1
STD0.5 | D1 | 0.09 | 0.035 | 1 | 1
STD1 | E1 | 0.137 | 0.034 | 1 | 1
STD2 | F1 | 0.243 | 0.038 | 1 | 1
CHK1 | G1 | 0.144 | 0.035 | 1 | 1
Empty | H1 | 0.044 | 0.032 | 1 | 1
STD0 | A2 | 0.053 | 0.036 | 1 | 1
STD0.1 | B2 | 0.057 | 0.035 | 1 | 1
STD0.2 | C2 | 0.068 | 0.036 | 1 | 1
STD0.5 | D2 | 0.095 | 0.042 | 1 | 1
STD1 | E2 | 0.141 | 0.035 | 1 | 1
STD2 | F2 | 0.248 | 0.048 | 1 | 1
CHK1 | G2 | 0.144 | 0.035 | 1 | 1
Empty | H2 | 0.043 | 0.036 | 1 | 1
STD0 | A3 | 0.051 | 0.035 | 1 | 1
STD0.1 | B3 | 0.056 | 0.035 | 1 | 1
STD0.2 | C3 | 0.07 | 0.034 | 1 | 1
STD0.5 | D3 | 0.091 | 0.036 | 1 | 1
STD1 | E3 | 0.138 | 0.035 | 1 | 1
STD2 | F3 | 0.236 | 0.036 | 1 | 1
CHK1 | G3 | 0.141 | 0.034 | 1 | 1
Empty | H3 | 0.049 | 0.041 | 1 | 1
1 | A4 | 0.104 | 0.032 | 1 | 1
4 | B4 | 0.114 | 0.047 | 1 | 1
7 | C4 | 0.097 | 0.035 | 1 | 1
10 | D4 | 0.097 | 0.036 | 1 | 1
16 | E4 | 0.09 | 0.034 | 1 | 1
19 | F4 | 0.092 | 0.036 | 1 | 1
22 | G4 | 0.095 | 0.034 | 1 | 1
25 | H4 | 0.09 | 0.035 | 1 | 1
1 | A5 | 0.1 | 0.035 | 1 | 1
4 | B5 | 0.1 | 0.036 | 1 | 1
7 | C5 | 0.093 | 0.035 | 1 | 1
10 | D5 | 0.095 | 0.036 | 1 | 1
16 | E5 | 0.091 | 0.034 | 1 | 1
19 | F5 | 0.092 | 0.033 | 1 | 1
22 | G5 | 0.094 | 0.036 | 1 | 1
25 | H5 | 0.092 | 0.035 | 1 | 1
1 | A6 | 0.099 | 0.034 | 1 | 1
4 | B6 | 0.102 | 0.035 | 1 | 1
7 | C6 | 0.094 | 0.034 | 1 | 1
10 | D6 | 0.094 | 0.036 | 1 | 1
16 | E6 | 0.099 | 0.033 | 1 | 1
19 | F6 | 0.091 | 0.035 | 1 | 1
22 | G6 | 0.092 | 0.035 | 1 | 1
25 | H6 | 0.091 | 0.036 | 1 | 1
28 | A7 | 0.102 | 0.035 | 1 | 1
31 | B7 | 0.114 | 0.037 | 1 | 1
34 | C7 | 0.105 | 0.035 | 1 | 1
40 | D7 | 0.096 | 0.036 | 1 | 1
43 | E7 | 0.097 | 0.033 | 1 | 1
49 | F7 | 0.095 | 0.035 | 1 | 1
52 | G7 | 0.094 | 0.035 | 1 | 1
55 | H7 | 0.092 | 0.035 | 1 | 1
28 | A8 | 0.101 | 0.035 | 1 | 1
31 | B8 | 0.11 | 0.035 | 1 | 1
34 | C8 | 0.103 | 0.036 | 1 | 1
40 | D8 | 0.114 | 0.054 | 1 | 1
43 | E8 | 0.1 | 0.038 | 1 | 1
49 | F8 | 0.096 | 0.037 | 1 | 1
52 | G8 | 0.092 | 0.035 | 1 | 1
55 | H8 | 0.092 | 0.035 | 1 | 1
28 | A9 | 0.122 | 0.053 | 1 | 1
31 | B9 | 0.108 | 0.039 | 1 | 1
34 | C9 | 0.104 | 0.04 | 1 | 1
40 | D9 | 0.093 | 0.035 | 1 | 1
43 | E9 | 0.097 | 0.035 | 1 | 1
49 | F9 | 0.096 | 0.036 | 1 | 1
52 | G9 | 0.09 | 0.033 | 1 | 1
55 | H9 | 0.092 | 0.039 | 1 | 1
58 | A10 | 0.101 | 0.036 | 1 | 1
61 | B10 | 0.095 | 0.035 | 1 | 1
64 | C10 | 0.094 | 0.035 | 1 | 1
67 | D10 | 0.095 | 0.037 | 1 | 1
70 | E10 | 0.091 | 0.035 | 1 | 1
73 | F10 | 0.094 | 0.036 | 1 | 1
76 | G10 | 0.092 | 0.035 | 1 | 1
C1 | H10 | 0.094 | 0.035 | 1 | 1
58 | A11 | 0.1 | 0.044 | 1 | 1
61 | B11 | 0.099 | 0.043 | 1 | 1
64 | C11 | 0.094 | 0.041 | 1 | 1
67 | D11 | 0.095 | 0.037 | 1 | 1
70 | E11 | 0.089 | 0.036 | 1 | 1
73 | F11 | 0.086 | 0.038 | 1 | 1
76 | G11 | 0.09 | 0.039 | 1 | 1
C1 | H11 | 0.086 | 0.036 | 1 | 1
58 | A12 | 0.099 | 0.036 | 1 | 1
61 | B12 | 0.116 | 0.041 | 1 | 1
64 | C12 | 0.099 | 0.044 | 1 | 1
67 | D12 | 0.091 | 0.037 | 1 | 1
70 | E12 | 0.09 | 0.037 | 1 | 1
73 | F12 | 0.091 | 0.036 | 1 | 1
76 | G12 | 0.093 | 0.037 | 1 | 1
C1 | H12 | 0.093 | 0.035 | 1 | 1
STD0 | A1 | 0.053 | 0.038 | 1 | 2
STD0.1 | B1 | 0.06 | 0.038 | 1 | 2
STD0.2 | C1 | 0.068 | 0.04 | 1 | 2
STD0.5 | D1 | 0.088 | 0.037 | 1 | 2
STD1 | E1 | 0.138 | 0.04 | 1 | 2
STD2 | F1 | 0.215 | 0.039 | 1 | 2
CHK1 | G1 | 0.135 | 0.039 | 1 | 2
Empty | H1 | 0.049 | 0.037 | 1 | 2
STD0 | A2 | 0.053 | 0.038 | 1 | 2
STD0.1 | B2 | 0.054 | 0.037 | 1 | 2
STD0.2 | C2 | 0.064 | 0.037 | 1 | 2
STD0.5 | D2 | 0.089 | 0.037 | 1 | 2
STD1 | E2 | 0.136 | 0.044 | 1 | 2
STD2 | F2 | 0.238 | 0.038 | 1 | 2
CHK1 | G2 | 0.15 | 0.046 | 1 | 2
Empty | H2 | 0.045 | 0.038 | 1 | 2
STD0 | A3 | 0.049 | 0.037 | 1 | 2
STD0.1 | B3 | 0.056 | 0.037 | 1 | 2
STD0.2 | C3 | 0.062 | 0.036 | 1 | 2
STD0.5 | D3 | 0.087 | 0.037 | 1 | 2
STD1 | E3 | 0.149 | 0.053 | 1 | 2
STD2 | F3 | 0.23 | 0.037 | 1 | 2
CHK1 | G3 | 0.137 | 0.038 | 1 | 2
Empty | H3 | 0.045 | 0.036 | 1 | 2
79 | A4 | 0.09 | 0.037 | 1 | 2
82 | B4 | 0.094 | 0.041 | 1 | 2
85 | C4 | 0.092 | 0.039 | 1 | 2
88 | D4 | 0.089 | 0.038 | 1 | 2
91 | E4 | 0.109 | 0.037 | 1 | 2
94 | F4 | 0.095 | 0.04 | 1 | 2
97 | G4 | 0.095 | 0.037 | 1 | 2
103 | H4 | 0.091 | 0.038 | 1 | 2
79 | A5 | 0.085 | 0.038 | 1 | 2
82 | B5 | 0.087 | 0.038 | 1 | 2
85 | C5 | 0.086 | 0.037 | 1 | 2
88 | D5 | 0.092 | 0.038 | 1 | 2
91 | E5 | 0.112 | 0.037 | 1 | 2
94 | F5 | 0.094 | 0.036 | 1 | 2
97 | G5 | 0.098 | 0.04 | 1 | 2
103 | H5 | 0.091 | 0.036 | 1 | 2
79 | A6 | 0.087 | 0.037 | 1 | 2
82 | B6 | 0.088 | 0.038 | 1 | 2
85 | C6 | 0.09 | 0.038 | 1 | 2
88 | D6 | 0.083 | 0.039 | 1 | 2
91 | E6 | 0.109 | 0.037 | 1 | 2
94 | F6 | 0.095 | 0.038 | 1 | 2
97 | G6 | 0.098 | 0.039 | 1 | 2
103 | H6 | 0.092 | 0.038 | 1 | 2
106 | A7 | 0.09 | 0.036 | 1 | 2
109 | B7 | 0.091 | 0.038 | 1 | 2
112 | C7 | 0.106 | 0.046 | 1 | 2
115 | D7 | 0.1 | 0.044 | 1 | 2
Empty | E7 | 0.052 | 0.039 | 1 | 2
Empty | F7 | 0.047 | 0.037 | 1 | 2
127 | G7 | 0.092 | 0.037 | 1 | 2
C1 | H7 | 0.092 | 0.038 | 1 | 2
106 | A8 | 0.095 | 0.039 | 1 | 2
109 | B8 | 0.09 | 0.038 | 1 | 2
112 | C8 | 0.105 | 0.038 | 1 | 2
115 | D8 | 0.09 | 0.039 | 1 | 2
Empty | E8 | 0.049 | 0.039 | 1 | 2
Empty | F8 | 0.047 | 0.039 | 1 | 2
127 | G8 | 0.089 | 0.038 | 1 | 2
C1 | H8 | 0.095 | 0.037 | 1 | 2
106 | A9 | 0.091 | 0.036 | 1 | 2
109 | B9 | 0.09 | 0.037 | 1 | 2
112 | C9 | 0.087 | 0.038 | 1 | 2
115 | D9 | 0.091 | 0.039 | 1 | 2
Empty | E9 | 0.049 | 0.039 | 1 | 2
Empty | F9 | 0.052 | 0.044 | 1 | 2
127 | G9 | 0.094 | 0.038 | 1 | 2
C1 | H9 | 0.097 | 0.043 | 1 | 2
MMPRNT_1598_1_4_dil | A10 | 0.048 | 0.039 | *accidentally added 2x AtNaR2 | 2
MMPRNT_1599_1_4dil | B10 | 0.049 | 0.041 | *accidentally added 2x AtNaR2 | 2
MMRPNT_Cntrl_1537-1608U | C10 | 0.059 | 0.052 | *accidentally added 2x AtNaR2 | 2
K2S04blank_dil | D10 | 0.045 | 0.039 | *accidentally added 2x AtNaR2 | 2
Empty | E10 | 0.047 | 0.041 |  | 2
Empty | F10 | 0.05 | 0.043 |  | 2
Empty | G10 | 0.046 | 0.039 |  | 2
Empty | H10 | 0.045 | 0.039 |  | 2
MMPRNT_1598_1_4_dil | A11 | 0.181 | 0.038 |  | 2
MMPRNT_1599_1_4dil | B11 | 0.12 | 0.037 |  | 2
MMRPNT_Cntrl_1537-1608U | C11 | 0.099 | 0.046 |  | 2
K2S04blank_dil | D11 | 0.053 | 0.041 |  | 2
Empty | E11 | 0.055 | 0.043 |  | 2
Empty | F11 | 0.05 | 0.039 |  | 2
Empty | G11 | 0.055 | 0.045 |  | 2
Empty | H11 | 0.048 | 0.038 |  | 2
MMPRNT_1598_1_4_dil | A12 | 0.165 | 0.041 |  | 2
MMPRNT_1599_1_4dil | B12 | 0.117 | 0.037 |  | 2
MMRPNT_Cntrl_1537-1608U | C12 | 0.091 | 0.038 |  | 2
K2S04blank_dil | D12 | 0.059 | 0.045 |  | 2
Empty | E12 | 0.052 | 0.039 |  | 2
Empty | F12 | 0.05 | 0.038 |  | 2
Empty | G12 | 0.05 | 0.039 |  | 2
Empty | H12 | 0.05 | 0.039 |  | 2